JIANGSU SOHO VIETNAM  CO .,LTD

HPS STREET LIGHT BETTER LIGHTING

Add:No.3, Cau Buou Commercial Centre, Ta Thanh Oai, Thanh Tri, Hanoi

E: soholedlighting@gmail.com            T:0934 422389            www.denchieusangcongtrinh.com.vn

Quotation for HPS street light Better Lighting

Báo giá đèn cao áp Better Lighting

| The following quotation is for HPS Street light which my company have mould for all of them |
| --- |
| SH - BTRL-802A | Light size: 700*310*220mm Carton size:71*32*23 CM Wattage:150-400W Pole: ￠60 mm N.W.: 5.8 KG IP rating: gear compartment:IP65 lamp compartment:IP66 40’HQ: 1400 PCS 20’container: 600 PCS | USD42 for empty fitting (without cut-off switch) USD44 for empty fitting (with cut-off switch) REMARK: we have two kind of spigot : small one is for 38-50MM pole, big one is for 60mm pole |
| SH - BTRL-802B | Light Size:600*275*210 mm Carton size:61*28.5*22CM Wattage:70-150W Pole: ￠38-60 mm N.W.: 4.5 KG IP rating: gear compartment:IP65 lamp compartment:IP66 40’HQ: 1800 PCS 20’container: 750 PCS | USD31 for empty fitting (without cut-off switch) USD33 for empty fitting (with cut-off switch) REMARK: we have two kind of spigot : small one is for 38-50MM pole, big one is for 60mm pole |
| SH -BTRL-802E (max for 250W) | Light Size:610*275*210 mm Carton size:62*28.5*22CM Wattage:150-250W Pole: ￠38-60 mm N.W.: 4.8 KG IP rating: gear compartment:IP65 lamp compartment:IP66 40’HQ: 1700 PCS 20’container: 700 PCS | USD32 for empty fitting (without cut-off switch) USD34 for empty fitting (with cut-off switch) REMARK: we have two kind of spigot : small one is for 38-50MM pole, big one is for 60mm pole |
| SH - BTRL-802C | Light size: 700*310*220mm Carton size:71*32*23 CM Wattage:150-400W Pole: ￠60 mm N.W.: 5.5 KG IP rating: gear compartment:IP65 lamp compartment:IP66 40’HQ: 1400 PCS 20’container: 580 PCS | USD42 for empty fitting (without cut-off switch) |
| SH - BTRL-802D | Light Size:600*275*210 mm Carton size:61*28.5*22CM Wattage:70-150W Pole: ￠38-60 mm N.W.: 4.3 KG IP rating: gear compartment:IP65 lamp compartment:IP66 40’HQ: 1800 PCS 20’container: 750 PCS | USD30 for empty fitting (without cut-off switch) |