JIANGSU SOHO VIETNAM  CO .,LTD

SOHO LED GARDEN LIGHT BETTER LIGHTING

Add:No.3, Cau Buou Commercial Centre, Ta Thanh Oai, Thanh Tri, Hanoi

E: soholedlighting@gmail.com            T:0934 422389            www.denchieusangcongtrinh.com.vn

Quotation for LED garden light Better Lighting

Báo giá đèn trang trí sân vườn Better Lighting

| SH-BTLED-607 | LED chip brand: LUMILEDS 3030 chip LED module: 1*64pcs module Color temperature: 3000-6500 K CRI: >70 Driver brand: MW or Inventronics IP rating: IP66 IK rating: IK08 Warranty: 5 years | 60W: USD 95/PC Empty fitting without led module and driver: USD48 /pc |
| --- | --- | --- |
| SH-BTLED-1603 | LED chip brand: LUMILEDS 3030 chip LED module: 1*64pcs module Color temperature: 3000-6500 K CRI: >70 Driver brand: MW or Inventronics IP rating: IP66 IK rating: IK08 Warranty: 5 years | A: 60W: USD 102/PC B: 60W: USD 107/PC（76MM） 60W: USD 106/PC（60MM） Empty fitting without led module and driver: A: USD52 /pc B: USD57 /pc(with 76 mm pole) USD56 /pc(with 60 mm pole) |
| SH-BTLED-610 | LED chip brand: LUMILEDS 3030 chip LED Module: 2*63pcs module for A/B 1*63pcs module for C Color temperature: 3000-6500 K CRI: >70 Driver brand: MW or Inventronics IP rating: IP66 IK rating: IK08 Warranty: 5 years | A: 100W: USD 175/PC B: 100W: USD 148/PC C: 60W: USD 113/PC Empty fitting without led module and driver: A: USD 99/pc B: USD 74/pc C: USD 65/pc |
| SH-BTLED-G4006 | LED chip brand: Bridgelux 5050 chip LED module: 3*8pcs =24pcs Color temperature: 3000-6500 K CRI: >70 Driver brand: Inventronics IP rating: IP66 IK rating: IK08 Warranty: 5 years | 60W: USD 134/PC Empty fitting without led module and driver: USD95 /pc |
| BTLED-G1901-10W/20W/25W/30W | 10W: USD 63/PC (CREE chip，MW driver) 20W: USD 65/PC (CREE chip，MW driver) 25W: USD 68/PC (CREE chip，MW driver) 30W: USD 71/PC (CREE chip，MW driver) CCT. : 3000-6500K CRI: >70 Average lumen: 110 lm/W LED brand: CREE Driver brand: MW LCP IP rating: IP66 IK rating: IK08 Fitting size: 172*172*403 MM Warranty: 2 years |
| SH-BTLED-G1801A | Power: 30W/40W/60W/80W LED chip brand: CREE XTE 3535 chip LED chip quantity: 24 pcs for 30W and 40W, 32pcs for 60W, 36pcs for 80W Color temperature: 3000K -6500K CRI: >70 Average lumen: 100 lm/W around Driver brand: MW or Inventronics IP rating: IP66 IK rating: IK09 Packing size:455*455*610MM Warranty: 5 years | 30W: USD 126/PC 40W: USD 126/PC (if use 48pcs 3030 chip for 30W and 40W , the cost can reduce USD5/PC) 60W: USD 137/PC (if use 72pcs 3030 chip for 60W , the cost can reduce USD7/PC) 80W: USD 145/PC (if use 96pcs 3030 chip for 80W , the cost can reduce USD7/PC) Empty fitting: USD85/PC |