JIANGSU SOHO VIETNAM  CO .,LTD

LED GARDEN LIGHT

Add:No.3, Cau Buou Commercial Centre, Ta Thanh Oai, Thanh Tri, Hanoi

E: soholedlighting@gmail.com            T:0934 422389            www.denchieusangcongtrinh.com.vn

Quotation for LED garden light

Báo giá đèn trang trí sân vườn

| SH-BTLED-G1801B | Power: 30W/40W/60W/80W LED chip brand: CREE XTE 3535 chip LED chip quantity: 24 pcs for 30W and 40W, 32pcs for 60W, 36pcs for 80W Color temperature: 3000K -6500K CRI: >70 Average lumen: 100 lm/W around Driver brand: MW or Inventronics IP rating: IP66 IK rating: IK09 Packing size:455*455*610MM Warranty: 5 years | 30W: USD 133/PC 40W: USD 133/PC (if use 48pcs 3030 chip for 30W and 40W , the cost can reduce USD5/PC) 60W: USD 144/PC (if use 72pcs 3030 chip for 60W , the cost can reduce USD7/PC) 80W: USD 152/PC (if use 96pcs 3030 chip for 80W , the cost can reduce USD7/PC) Empty fitting: USD 98 /PC |
| --- | --- | --- |
| SH-BTLED-G180 | LED chip brand: LUMILEDS 3030 chip LED Module: 2*63pcs =100W 1*63pcs =60W Color temperature: 3000-6500 K CRI: >70 Driver brand: MW or Inventronics IP rating: IP66 IK rating: IK08 Warranty: 5 years | 100W: USD 152/PC 60W: USD 130/PC Empty fitting without led module and driver: USD78 /pc |
| SH-BTLED-1616 | LED chip brand: LUMILEDS 3030 chip LED SMD: 48pcs for 30W and 40W 96pcs for 60W and 80W Color temperature: 3000-6500 K CRI: >70 Driver brand: PHILIPS or Inventronics IP rating: IP66 IK rating: IK08 Warranty: 5 years | A: 30W: USD 92/PC B: 40W: USD 92 /PC C: 60W: USD 105/PC D: 80W: USD 109/PC Empty fitting without led module and driver: USD71/PC |
| SH-BTLED-G1701 | Power: 30W/40W/60W/80W LED chip brand: CREE XTE 3535 chip LED chip quantity: 30 pcs for 30W/ 40W/ 60W, 54pcs for 80W Color temperature: 3000K -6500K CRI: >70 Average lumen: 100 lm/W around Driver brand: MW or Inventronics IP rating: IP66 IK rating: IK09 Packing size:540*540*610MM Warranty: 5 years | 30W: USD 158/PC 40W: USD 158/PC 60W: USD 162PC 80W: USD 179/PC Empty fitting without led chip,PCB and driver: USD 112/PC |
| SH-BTLED-G1702 | Power: 30W/40W/60W/80W LED chip brand: CREE XTE 3535 chip LED chip quantity: 30 pcs for 30W/ 40W/ 60W, 54pcs for 80W Color temperature: 3000K -6500K CRI: >70 Average lumen: 100 lm/W around Driver brand: MW or Inventronics IP rating: IP66 IK rating: IK09 Packing size:540*540*770MM Warranty: 5 years | 30W: USD 179/PC 40W: USD 179PC 60W: USD 183/PC 80W: USD 200/PC Empty fitting without led chip,PCB and driver: USD 133/PC |