JIANGSU SOHO VIETNAM   CO . , LTD

STREET LED LIGHTING BETTER LIGHTING

Add:No.3, Cau Buou Commercial Centre, Ta Thanh Oai, Thanh Tri, Hanoi

E: soholedlighting@gmail.com            T:0934 422389            www.denchieusangcongtrinh.com.vn

Quotation for LED street light Better Lighting

Báo giá đèn đường LED Better Lighting

| SH-BTLED-1802B-30W/40W/50W/60W （we have patent for this new product） | Power: 30-60W LED chip brand: LUMILEDS 3030 chip LED chip quantity: 36-72 pcs Color temperature: 3000-6500K CRI: >70 Average lumen: 115 lm/W Driver brand: INVENTRONICS IP rating: IP66 IK rating: IK08 Fitting size: 408*244*74 MM Warranty: 5 years REMARK: this model is economic design, bottom body only with tempered super-white glass we have two kind of spigot : small one is for 38-50MM pole, big one is for 60mm pole PCB area is 8mm thick, so we can drill any hole according to your different PCB design | 30W:USD 49/PC (36PCS CHIP) 40W:USD 52/PC (48PCS CHIP) 50W: USD 61/PC (60PCS CHIP) 60W: USD 64/PC (72PCS CHIP) Empty fitting without PCB and lens: USD27 /pc |
| --- | --- | --- |
| SH-BTLED-1802C-10W/20W/30W/40W （we have patent for this new product） | Power: 10-40W LED chip brand: LUMILEDS 3030 chip LED chip quantity: 24-48 pcs Color temperature: 3000-6500K CRI: >70 Average lumen: 110 lm/W Driver brand: Dongling (Chinese brand) IP rating: IP66 IK rating: IK08 Fitting size: 345*195*83 MM Warranty: 3 years REMARK: this model is economic design, bottom body only with tempered super-white glass PCB area is 8mm thick, so we can drill any hole according to your different PCB design | 10W:USD 32/PC (24PCS CHIP) 20W:USD 34/PC (24PCS CHIP) 30W:USD 38/PC (36PCS CHIP) 40W:USD 42/PC (48PCS CHIP) Empty fitting without PCB and lens: USD21 /pc |
| SH-J-LED-1001A | LED chip brand: LG 3535 chip Color temperature: 3000-6500 K CRI: >70 Driver brand: PHILIPS IP rating: IP66 IK rating: IK08 Fitting size:864*375*168mm Warranty: 5 years | 120W: USD 142/PC （64PCS CHIP） 150W: USD 155/PC （80PCS CHIP） 180W: USD 162/PC （80PCS CHIP） Empty fitting without PCB and lens: USD71 /pc |
| SH-J-LED-1001B | LED chip brand: LG 3535 chip Color temperature: 3000-6500 K CRI: >70 Driver brand: PHILIPS IP rating: IP66 IK rating: IK08 Fitting size:644*303*132 mm Warranty: 5 years | 60W: USD 100/PC （30PCS CHIP） 90W: USD 116/PC （54PCS CHIP） Empty fitting without PCB and lens: USD48 /pc |
| SH-J-LED-1001C | LED chip brand: LG 3535 chip Color temperature: 3000-6500 K CRI: >70 Driver brand: SOSEN IP rating: IP66 IK rating: IK08 Fitting size:474*238*100 mm Warranty: 5 years | 30W: USD 49/PC （16PCS CHIP） 50W: USD 63/PC （32PCS CHIP） Empty fitting without PCB and lens: USD25 /pc |
| SH-BTLED-1604 | LED chip brand: LUMILEDS 3030 chip Lens: 1*63pcs , max for 6*63=378pcs LED module: 1/2/3/4/5/6 pcs Color temperature: 3000-6500K CRI: >70 Average lumen: 120 lm/W Driver brand: PHILIPS SPD: 10KV+10KA IP rating: IP66 IK rating: IK09 Warranty: 5 years | 100W: USD 112/PC （2pcs LED module） 150W: USD 135/PC （3pcs LED module） 200W: USD 165/PC （4pcs LED module） 250W: USD 196/PC （5pcs LED module） Empty fitting without LED module: USD42/46/50/55/59 For M2/M3/M4/M5/M6 |

# Text boxes

NEW

NEW